## Sheet1
Station	Location	Priority	Cause Type	Issued System Date	Work Started Date	Work Completed Date	Last Order Comment
Newport	Island Platform Lift	2 Hour	wear	28/03/2024 11:39	28/03/2024 12:45	28/03/2024 16:20	GF doors not closing replaced gf rollers replaced gf door closing spring set locks up ran and tested fine
Newport	South Platform Lift	2 Hour	wear	25/03/2024 14:12	25/03/2024 15:35	19/04/2024 11:51	Hydraulic unit losing pressure
							28/03 - Liestritz Ram seals and check valve required - parts on order awaiting delivery date from supplier
							Supply and fitted ram seal kit ,check valve in bottom of ram , q x m top up pump set up lift and left in service
Newport	South Platform Lift	2 Hour	wear	22/03/2024 17:53	22/03/2024 19:39	22/03/2024 20:49	On investigation suspected short on canbus, traced to bad contact on battery contact on pcb, also both batteries flat. Once connection rectified Lift went into service. Also supplied and fitted new set of batteries as existing only showing 2volts. Tested
Newport	South Platform Lift	30 Minutes	wear	18/03/2024 08:20	18/03/2024 08:30	22/03/2024 15:59	Let out person trapped in lift, found oil leaking on tank, lift isolated, need further investigation.
							On site, found break in the QSM hose. New hose required, lift isolated.
							Replaced accumulator top up hose and qxm hose issue with the lift running in the up direction possible qxm pump issue will return tomorrow to speak with the manufacturer. changed drive to open loop and repaired door operator fault
Newport	South Platform Lift	2 Hour	wear	16/03/2024 09:29	16/03/2024 10:33	16/03/2024 11:12	Doors out of line and not closing, made adjustments and tested.
Newport	Island Platform Lift	2 Hour	Misuse	29/01/2024 09:21	29/01/2024 10:55	29/01/2024 11:42	Adjusted ground floor lock which has been hit out of position from excessive force. This is misuse and is chargeable.
Newport	South Platform Lift	2 Hour	Misuse	23/01/2024 08:13	23/01/2024 09:45	23/01/2024 10:28	Lift doors have been forced as lock was bent, also door roller damaged and replaced, ran and tested.
Newport	Island Platform Lift	2 Hour	wear	21/01/2024 11:56	21/01/2024 13:23	21/01/2024 13:56	Lock fail, made adjustments, lift back in service.
Newport	South Platform Lift	2 Hour	Misuse	20/01/2024 13:14	20/01/2024 14:10	20/01/2024 15:02	Lift ground floor doors not closing fully. These have been hit, made adjustments and tested.
Newport	Island Platform Lift	2 Hour	Misuse	20/01/2024 11:51	20/01/2024 12:57	20/01/2024 14:07	Doors not closing fully, tracks full of grit, had to make adjustments as doors have been hit and out of line, also giit that has been put on platform has got into tracks, cleaned and tested.
Newport	Island Platform Lift	2 Hour	Power	19/01/2024 17:55	19/01/2024 18:48	19/01/2024 19:34	Power cut causing prelock fail, made adjustments, ran and tested, returned to service.
Newport	Island Platform Lift	2 Hour	Outside	08/12/2023 08:30	08/12/2023 10:37	08/12/2023 11:17	All lifts working on arrival, smoke detector in island shaft was activated, will have to call directly systems to sort out.
Newport	Island Platform Lift	2 Hour	wear	21/11/2023 10:55	21/11/2023 14:04	21/11/2023 14:53	Had to set up the doors as they were not closing every time. Adjusted and left in service.
Newport	Island Platform Lift	2 Hour	wear	03/11/2023 15:02	03/11/2023 15:59	04/11/2023 07:56	Lift ground floor doors not closing on own pressure. Found door close spring snapped and also ramp of corrosion on d-bar. Cleaned d-bar, fitted door close cable from other lift that has staff entrance. Doors not closing in last few inches. New rollers required.
							Return visit on 04/11. Temporary repair done to door. Further work required but lift left in service. Returned to service by Dean Barrett.
Newport	Island Platform Lift	2 Hour	Misuse	02/11/2023 14:03	02/11/2023 14:33	02/11/2023 15:30	Damaged roller on ground floor, had to take one off the island lift where they are not using entrance, ran and tested, lift back working.
Newport	Island Platform Lift	2 Hour	wear	01/11/2023 12:30	01/11/2023 14:16	01/11/2023 14:47	Doors not closing, fully had to adjust. Ran and tested and returned to service.
Newport	South Platform Lift	2 Hour	wear	09/10/2023 16:49	09/10/2023 17:36	09/10/2023 18:35	Lift out of order. Made ground floor lock adjustments. Ran and tested, returned to service.
Newport	South Platform Lift	2 Hour	Misuse	09/10/2023 09:50	09/10/2023 10:24	09/10/2023 13:18	Doors have been hit out of alignment. Had to set up the doors and locks. Made adjustments, ran and tested, returned to service.
Newport	South Platform Lift	2 Hour	wear	07/10/2023 06:51	07/10/2023 08:48	07/10/2023 09:48	Found lift out of service. Ground floor lock sticking. Made adjustments and returned to service.
Newport	South Platform Lift	2 Hour	Misuse	04/10/2023 16:40	04/10/2023 18:43	04/10/2023 18:49	Doors have been hit. Had to set back up. Returned to service.
Newport	North Platform Lift	2 Hour	wear	04/10/2023 16:36	04/10/2023 17:01	12/10/2023 13:53	Took out buffers, lowered lift down, hand pumped back up , lift still bottoming out, two man job, lift isolated.
							Further inspection on lift, found internal ram seals need replacing.
							Supplied and fitted new ram seals and a new check valve in ram, supplied and fitted new spider coupling, ran lift and left lift in service.
Newport	South Platform Lift	2 Hour	wear	02/10/2023 10:08	02/10/2023 11:36	02/10/2023 12:22	Ground floor doors not closing. Made adjustments to rollers, ran and tested, left in service.
Newport	Island Platform Lift	2 Hour	wear	23/09/2023 15:51	23/09/2023 17:41	23/09/2023 18:34	Working on arrival, checked event log, prelock fail, platform level adjusted door shoe. Ran and tested, left in working order.
Newport	South Platform Lift	2 Hour	wear	12/09/2023 20:48	12/09/2023 22:38	12/09/2023 23:48	Lift left in restricted use, top floor hanging roller collapsed, the site stopped access to m/r as closed, removed roller from staff entrance (as tis is not used) and replaced with top floor new rollers ordered for this are, due to issues with motor room access when ticket office closed the lift was left with flaps down, station are raising when there and lowering when ticket off closed reccomend key box
Newport	South Platform Lift	2 Hour	Misuse	08/09/2023 15:48	08/09/2023 19:10	08/09/2023 19:31	Found car button for alarm on r/h top jamming and causing sporadic actioning. Released and tested all satisfactory
Newport	North Platform Lift	2 Hour	Phone	06/09/2023 11:13	06/09/2023 14:55	06/09/2023 15:56	The telephone line is dead. This has been reported to the station manager. Lift has been left on and will be checked regularly.
Newport	Island Platform Lift	2 Hour	wear	03/09/2023 17:23	03/09/2023 17:54	03/09/2023 18:21	Lock fault. Altered doors, lift returned to service.
Newport	Island Platform Lift	2 Hour	Misuse	25/08/2023 12:50	25/08/2023 14:30	25/08/2023 15:40	Ground floor doors not closing. Shoes damages. These will need to be replaced. Lift left off.
Newport	North Platform Lift	2 Hour	wear	14/08/2023 17:27	14/08/2023 18:32	17/08/2023 11:19	Main car roller damaged new required lift left off.
							Supplied and fitted new car roller. Left in service.
Newport	Island Platform Lift	2 Hour	wear	10/08/2023 09:26	10/08/2023 11:29	10/08/2023 12:09	On site found button sticking. Lubricated button and left working. This is the second time now so buttons will need changing as they are getting damaged. 7 day order to be raised to replace buttons.
Newport	Island Platform Lift	2 Hour	wear	01/08/2023 08:40	01/08/2023 09:20	01/08/2023 09:49	Landing button sticking lubricated and tested returned lift to service.
Newport	Island Platform Lift	2 Hour	Misuse	22/07/2023 08:15	22/07/2023 09:52	22/07/2023 11:54	GF landing doors been hit repositioned lock and doors ran and tested fine AJ This was caused by misuse and abuse and chargable
Newport	South Platform Lift	30 Minutes	wear	19/07/2023 11:35	19/07/2023 12:12	21/07/2023 15:41	Loud vibrating noise coming from inside the tank. Will return with the Network Rail van and investigate with two men.
							Replaced motor couplings and spider coupling ran and tested fine
Newport	Island Platform Lift	2 Hour	Misuse	14/07/2023 14:38	14/07/2023 15:52	14/07/2023 17:13	LAR contactor faulty and car lock contact damaged which was caused by excessive force and is chargeable. New required.
Newport	Island Platform Lift	2 Hour	wear	24/06/2023 04:01	24/06/2023 04:07	24/06/2023 05:17	Released passenger found CCF fuse blown replaced fuse alarm sounding continuously. Freed bottom alarm button. Straightened front door shoe. Ran and tested no obvious reason found. Returned to service.
Newport	Island Platform Lift	2 Hour	Misuse	20/06/2023 09:57	20/06/2023 10:38	20/06/2023 11:50	Doors not closing fully platform level had been struck.Straightened door Gibbs. Misuse. Ran and tested returned to service.
Newport	South Platform Lift	2 Hour	wear	13/06/2023 06:28	13/06/2023 07:34	13/06/2023 09:29	NERR fault. Oil was low and accumulator top hose valve needed replacing. Replaced ran and tested fine left in service.
Newport	Island Platform Lift	2 Hour	wear	11/06/2023 10:26	11/06/2023 10:55	11/06/2023 11:14	Lock fault on ground floor made adjustments and tested.
Newport	North Platform Lift	2 Hour	Misuse	10/06/2023 11:49	10/06/2023 12:35	10/06/2023 13:41	Door fire seal catching also door open button stuck in. Made adjustments to door and lubricated button. Ran tested and left in service.
Newport	South Platform Lift	2 Hour	wear	23/05/2023 09:50	23/05/2023 11:29	23/05/2023 12:34	1 light out in car. Supplied and fitted 2 new tubes. Ran and tested left in service.
Newport	North Platform Lift	2 Hour	Misuse	20/05/2023 15:23	20/05/2023 17:38	20/05/2023 18:20	Door open button sticking. Misuse. Lift in service.
Newport	South Platform Lift	2 Hour	wear	08/05/2023 08:07	08/05/2023 09:57	08/05/2023 10:29	MRT fault. Fanox thermostat and relay fault. Lift in service.
Newport	South Platform Lift	2 Hour	wear	07/05/2023 11:30	07/05/2023 16:34	07/05/2023 17:23	MTR relay had tripped room temperature was cool relay and thermostat needs to be replaced this was completed on the 11th of May
Newport	South Platform Lift	2 Hour	wear	04/05/2023 04:47	04/05/2023 15:57	05/05/2023 15:23	Replaced RAC contatctor tested and ran for a bit then left in service following test
Newport	South Platform Lift	2 Hour	Oil	30/04/2023 10:12	30/04/2023 11:13	30/04/2023 12:06	Lift running on arrival staff stated off first thing showing temp fault air con blowing at minus 20 deg so potential cause
Newport	South Platform Lift	2 Hour	wear	23/04/2023 09:14	23/04/2023 10:09	23/04/2023 10:38	Arrived on site found lift working checked fault log had a safety edge fault checked and cleaned edges lift working.
Newport	South Platform Lift	2 Hour	wear	22/04/2023 06:40	22/04/2023 08:05	22/04/2023 08:19	Reset required. Car door scraping in track had to lift up slightly.
Newport	South Platform Lift	2 Hour	wear	21/04/2023 06:25	21/04/2023 06:53	21/04/2023 07:43	Car doors scraping. Made adjustments also the skin of the doors has a slight bow in it . Left in service.
Newport	South Platform Lift	30 Minutes	wear	11/04/2023 11:42	11/04/2023 12:02	11/04/2023 13:49	MOL 2 tripped again. Spoke to Alan Rolley increased setting to 9.5 checked all contactor and all connections. Also found autodialler not working checked power supply and phone line all ok. New emphone unit required. Station staff want lift left in service agreed to monitor with cameras and barrier staff only 2 meters away.
Newport	South Platform Lift	2 Hour	wear	10/04/2023 13:10	10/04/2023 15:34	10/04/2023 16:19	Found MOL 2 tripped. Reset ran and tested unable to fault returned to service.
Newport	South Platform Lift	2 Hour	Oil	02/04/2023 10:45	02/04/2023 11:51	02/04/2023 12:27	Lift running on arrival but thermal overload activated a few times lift is running low on oil and needs to be replenished ASAP leak in the tank and oil binding that needs to be addressed ASAP
Newport	South Platform Lift	2 Hour	wear	01/04/2023 06:49	01/04/2023 08:07	01/04/2023 08:28	Out of service - stuck at bottom level. Nerr lost reset ran and tested fine returned to service.